## Electronics
Ref Des | Level | Description | QTY | MFG | MPN | Purchase Link | Price | Documentation
| 1 | Controller Assembly | 1 |  |  |  |  | https://docs.google.com/document/d/1L-BRPqMu2HmoCUuGmyF_BUbXcqeiwkpr91GybW2ydSg/edit
| 2 | Enclosure Box | 1 | Wiremold Legrand | BW32 | https://www.homedepot.com/p/Wiremold-Legrand-700-Series-Metal-Surface-Raceway-2-Gang-Raceway-Electrical-Box-White-BW32/100157333 | 9.57
| 2 | Enclosure cover plate | 1
| 2 | POT 10K OHM 2W CARBON LINEAR | 1 | Precision Electronics Corporation | RV4NAYSD103A | RV4N103C-ND RV4NAYSD103A | 10.72 | https://media.digikey.com/pdf/Data%20Sheets/Precision%20Electronic%20Components%20Ltd%20PDFs/MIL%20Style%20RV4.pdf
| 2 | KNOB FLUTED W/SKIRT 0.250" PLAST | 1 | APEM Inc. | MPKES90B14 | 679-3545-ND MPKES90B14 | 2.16 | https://media.digikey.com/pdf/Data%20Sheets/APEM%20Components%20PDFs/Control_Knobs,Molded_Phenolic.pdf
| 2 | Cable to Pot | 1
| 2 | Cable to LCD | 1
| 2 | Momentary Switch | 1 | E-Switch | RP3502BRED | https://www.digikey.com/product-detail/en/e-switch/RP3502BRED/EG1931-ND/280449 | 2.14
| 2 | 16x2 LCD | 1 | Newhaven Display Intl | NHD-0216HZ-FSW-FBW-33V3C | https://www.digikey.com/product-detail/en/newhaven-display-intl/NHD-0216HZ-FSW-FBW-33V3C/NHD-0216HZ-FSW-FBW-33V3C-ND/2773591 | 12.15
| 2 | DC Power supply | 1
| 2 | Controller Board | 1
| 3 | Ardrunio nano with header | 1 | Arduino | ABX00033 | https://www.digikey.com/product-detail/en/arduino/ABX00033/1050-ABX00033-ND/10239972 | 14.24
| 3 | Ardrunio controller code | 1 |  |  |  |  | https://github.com/MBXSystems/Open_Source_Ventilator/tree/master/ControllerSourceCode/VentSim
| 3 | Prototype board | 1 | Pololu Corporation | 4000 | https://www.digikey.com/product-detail/en/pololu-corporation/4000/2183-4000-ND/11586861?utm_adgroup=Prototyping%2C%20Fabrication%20Products&utm_source=google&utm_medium=cpc&utm_campaign=Shopping_DK%2BSupplier_Pololu%20Corporation&utm_term=&utm_content=Prototyping%2C%20Fabrication%20Products&gclid=Cj0KCQjwybD0BRDyARIsACyS8mtFLRC1yETYmIbFYCFQFtTpujKde7RAWSj3vZAxX98TCwPTSxSxz_MaAntHEALw_wcB | 2.55
R1 | 3 | RES 1.2K OHM 1/2W 5% CF MINI | 1 | Stackpole Electronics Inc | CFM12JT1K20 | S1.2KHCT-ND CFM12JT1K20 | 0.059
R2 | 3 | RES 100 OHM 1/4W 5% AXIAL | 1 | Stackpole Electronics Inc | CF14JT100R | CF14JT100RCT-ND CF14JT100R | 0.04
Q1 | 3 | TRANS NPN 40V 0.2A TO-92 | 1 | ON Semiconductor" | 2N3904BU | 2N3904FS-ND 2N3904BU | 0.162
R3 | 3 | RES 10K OHM 1/4W 5% AXIAL | 1 | Stackpole Electronics Inc | CF14JT10K0 | CF14JT10K0CT-ND CF14JT10K0 | 0.04
C1 | 3 | CAP ALUM 10UF 20% 450V RADIAL | 1 | Panasonic Electronic Components | EEU-EE2W100U | P13671-ND EEU-EE2W100U | 0.76
U1 | 3 | IC REG BUCK 5V 1A TO220-5 | 1 | Texas Instruments | LM2575T-5.0/NOPB | LM2575T-5.0/NOPB-ND LM2575T-5.0/NOPB | 2.68
D1 | 3 | DIODE GEN PURP 1KV 1A DO41 | 1 | Micro Commercial Co | 1N4007-TP | 1N4007-TPMSCT-ND 1N4007-TP | 0.12
Q2 | 3 | TRANS NPN 60V 15A TO3 | 1 | ON Semiconductor" | 2N3055G | 2N3055GOS-ND 2N3055G | 5.84
63.231
Sensor untested
| 3 | BMP 280 (Measuring inspiratory and expiratory pressure) | 1 | Bosch Sensortec | 262-BMP280 | https://www.digikey.com/product-detail/en/bosch-sensortec/BMP280/828-1064-1-ND/6136315 | 3.48
| 3 | MPXV7002DPT1 (Measuring flow rate) | 1 | NXP USA Inc. | MPXV7002DPT1CT-ND | https://www.digikey.com/product-detail/en/nxp-usa-inc/MPXV7002DPT1/MPXV7002DPT1CT-ND/3524215 | 18.59

## Mechanical V1
Release status OK means you can buy with confidence that the part will be used | [5 empty] | Length | Number
Release status Not ready means do not buy yet or buy at your own risk that it is not used |  |  |  |  | Quantity | Needed | of pieces
|  | Pneumatics: |  |  | to order per | per part | per | Price/unit
RELEASE STATUS | Level | Diagram Label | Description | Store SKU | ventilator | (inch) | ventilator | US$ | Purchase Link
| 1 |  | PVC Assembly
OK | 2 | A | 3/4" CPVC Water Supply Pipe (CTS) AVG O.D.: .875 in (22.2 mm) | 206153 | 1 | 1.25" | 2 | 2.16 | https://www.homedepot.com/p/Charlotte-Pipe-3-4-in-x-2-ft-CPVC-Water-Supply-Pipe-CTS-12007-0200/203019298
OK | 2 | C | 3/4" Schedule 40 PVC Pipe (O.D. 1.05" AVG ID 0.804") | 254518 | 1 | 1.25" | 3 | 1.6 | https://www.homedepot.com/p/VPC-3-4-in-x-24-in-PVC-Sch-40-Pipe-22075/202300505
OK - Length TBD | 2 | M | 1" Schedule 40 PVC Pipe (O.D. 1.315" AVG ID 1.029") | 254977 | 1 | 1.88" | 1 | 2.34 | https://www.homedepot.com/p/VPC-1-in-x-24-in-PVC-Sch-40-Pipe-2201/202300506
| 1 |  | Regulator assembly
OK |  | J | High Flow Regulator | 1002085188 | 1 | n/a | 1 | 24.97 | https://www.homedepot.com/p/Husky-High-Flow-Regulator-019-0332H/300113697?keyword=846212060360&searchtype=text&semanticToken=203300001110_20200323130115813797_s67d+203300001110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A1%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B9%3A1%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B846212060360%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B572371%7D+qu%3A%7B846212060360%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | B | 3/4 in. x 3/4 in. CPVC Slip x Slip CPVC-to-PVC Adapter | 868690 | 2 | n/a | 2 | 1.73 | https://www.homedepot.com/p/Everbilt-3-4-in-x-3-4-in-CPVC-Slip-x-Slip-CPVC-to-PVC-Adapter-51577/202820293?keyword=3856100430&semanticToken=203t00001110_20200323154736976027_s94x+203t00001110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A0%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B0%3A0%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B3856100430%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B4295174817%7D+tgr%3A%7BNo+stage+info%7D+qu%3A%7B3856100430%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | E | 3/4 in. PVC Sch. 40 S x S Tee | 187917 | 1 | n/a | 1 | 0.9 | https://www.homedepot.com/p/Charlotte-Pipe-3-4-in-PVC-Sch-40-S-x-S-Tee-PVC024000800HD/203812197
OK |  | F | 3/4 in. PVC Sch. 40 MPT x S Male Adapter | 188131 | 1 | n/a | 1 | 0.61 | https://www.homedepot.com/p/Charlotte-Pipe-3-4-in-PVC-Sch-40-MPT-x-S-Male-Adapter-PVC021090800HD/203811638?keyword=611942038343&searchtype=text&semanticToken=d03300000110_20200323125256778670_xbfv+d03300000110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A1%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B0%3A0%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B611942038343%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B4295174829%7D+qu%3A%7B611942038343%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | G1 | 3/4 in. FPT In-Line Valve | 301221 | 1 | n/a | 1 | 15 | https://www.homedepot.com/p/Rain-Bird-3-4-in-FPT-In-Line-Valve-CP075/202078357
[8 empty] | 12.58 | https://www.menards.com/main/outdoors/watering-irrigation/underground-sprinkler-systems/underground-sprinkler-valves-boxes/orbit-reg-3-4-in-line-irrigation-valve/57280/p-1444450318325-c-8670.htm
OK |  | H | 3/4 in. PVC Sch. 40 Plug | 612758 | 1 | n/a | 1 | 1.14 | https://www.homedepot.com/p/Charlotte-Pipe-3-4-in-PVC-Sch-40-Plug-PVC021130800HD/203850342?keyword=1194203847&semanticToken=203t00001110_20200323150218881096_t7wc+203t00001110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A0%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B0%3A0%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B1194203847%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B4295174829%7D+tgr%3A%7BNo+stage+info%7D+qu%3A%7B1194203847%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | T | 1 in. x 1 in. x 3/4 in. PVC Sch. 40 S x S x S Reducing Tee | 612952 | 1 | n/a | 1 | 1.47 | https://www.homedepot.com/p/Charlotte-Pipe-1-in-x-1-in-x-3-4-in-PVC-Sch-40-S-x-S-x-S-Reducing-Tee-PVC024004450HD/203812227?keyword=611942039029&semanticToken=203300001110_20200323150803880178_1nhp+203300001110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A0%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B9%3A1%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B611942039029%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B4295174829%7D+qu%3A%7B611942039029%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | L | 1 in. x 3/4 in. PVC Coupling | 1004925158 | 2 | n/a | 2 | 1.41 | https://www.homedepot.com/p/Charlotte-Pipe-1-in-x-3-4-in-PVC-Coupling-PVC-02100-3600/203824251?keyword=611942082025&searchtype=text&semanticToken=203300001110_20200323124653794039_s67d+203300001110+%3E++cnn%3A%7B0%3A0%7D+cnr%3A%7B7%3A1%7D+cnp%3A%7B10%3A0%7D+cnd%3A%7B4%3A0%7D+cne%3A%7B8%3A0%7D+cnb%3A%7B0%3A0%7D+cns%3A%7B5%3A0%7D+cnx%3A%7B3%3A0%7D+st%3A%7B611942082025%7D%3Ast+oos%3A%7B0%3A1%7D+dln%3A%7B4295174829%7D+qu%3A%7B611942082025%7D%3Aqu+nf%3A%7B1%7D%3Anf
OK |  | I | 1/4"- 1/4" Male NPT Adaptor - two are here, not sold individually | 1003202525 | 1 |  | 1 | 4 | https://www.homedepot.com/p/Husky-1-4-in-F-F-M-M-NPT-Coupler-Combo-Pack-HDA31400/305172215
OK - Length TBD |  | K | Same as C |  | 0 | 2.25" | 1
OK - Length TBD |  | N | Same as C |  | 0 | 1.75" | 1
NOT READY |  | D | 3/4 in. PVC Sch. 40 Slip x Slip Ball Valve | 784893 | 1 | n/a | 1 | 2.98 | https://www.homedepot.com/p/Homewerks-Worldwide-3-4-in-PVC-Sch-40-Slip-x-Slip-Ball-Valve-VBVP40E4B/202370032
NOT READY |  | O | Charlotte Pipe Schedule 40 1/2 in. Spigot x 1/2 in. Dia. Slip PVC Plug | Item no. 44847 | 1 | n/a | 1 | 0.99 | https://www.acehardware.com/departments/plumbing/pipe-fittings/plastic-fittings/44847
NOT READY |  | P | 1-1/16 in. O.D x 13/16 in. I.D x 1/8 in. Thickness Neoprene 'O' Ring | Model # 780046 | 1 | n/a | 1 | 6.71 | https://www.homedepot.com/p/Hillman-1-1-16-in-O-D-x-13-16-in-I-D-x-1-8-in-Thickness-Neoprene-O-Ring-12-Pack-780046/204726397
NOT READY |  | Q | #8 O-Ring | 583971 | 1 | n/a | 1 | 2.57 | https://www.homedepot.com/p/DANCO-8-O-Ring-10-Pack-96725/100277697
NOT READY |  | R | 1/2 in. Plastic PEX Barb 90-Degree Elbow | 1001404698 | 1 | n/a | 1 | 4.27 | https://www.homedepot.com/p/Apollo-1-2-in-Plastic-PEX-Barb-90-Degree-Elbow-5-Pack-PXPAE125PK/301541106
NOT READY |  | S | Bontrager Tube (27-inch, Schrader Valve) | 64790 | 1 | n/a | 1 | 7.99 | https://www.trekbicyclesuperstore.com/product/bontrager-tube-27-inch-schrader-valve-155077-1.htm?variations=31460&gclid=CjwKCAjwvOHzBRBoEiwA48i6AomOlAiIEbn7t8nZ1OvJsAEoQcsBf6g6l9jUHyZp2aOqRmWM0lhKxBoCPYwQAvD_BwE
NOT READY |  | U | same as M |  | 0 | 5" | 1
BACKUP |  | G2 | 3/4 in. FPT Auto Inline Valve | 557717 | 1 | n/a | 1 | 12.97 | https://www.homedepot.com/p/Orbit-3-4-in-FPT-Auto-Inline-Valve-57280/300642253
| 1 |  | Controller assembly
Screw 27.3mm length
|  |  | Total of parts above |  |  |  |  | 108.39
|  | Electronics: | [5 empty] | 95.42
NOT READY
NOT READY